6907 S. Constance – 100698428 – Corrections issued 4/26/17
Title Page

LD0019 - Provide existing elevation drawings identifying with dashed lines and notes all elements proposed to be removed.
A100

LD0002 - EXISTING PHOTOGRAPHS - Provide photographs of current condition of porch at all elevations.
LD0003 - WINDOW DETAILS - Are these windows existing or is demo required to create openings?  Revise for consistency with first floor plan which shows windows at this location.  If existing windows to remain, note this on the drawing and window schedule.
LD0002 - EXISTING PHOTOGRAPHS - Provide photographs of all elevations and photographs taken from sidewalk just east and west of the home to illustrate the visibility of the elevations from the public right-of-way.
A101

LD0003 - WINDOW DETAILS - Available images show a paired window at this location.  The proposed plan also has paired windows at this location.  Revise for consistency or provide photographs showing there is only one window at this location currently.
A300

LD0006 - PORCH/STAIR DETAIL - Detail scope of work required to repair porch.  Note existing and proposed materials.  Include pier detail at north and south end if still extant.   
LD0011 - CLARIFICATION - Note what is proposed here.  Elevation suggest juliette balcony with double doors?
A500

LD0015 - REVIEWER'S COMMENTS - Compass direction of all elevations noted incorrectly.  Revise for accuracy.
LD0003 - WINDOW DETAILS - Proposed plan shows four windows at this location.  What is this brick panel?  Add note to explain or revise drawings for consistency.
A400

LD0011 - CLARIFICATION - For all exterior doors and windows:

1.  Note if windows shown here are "existing to remain" or "new." 

2.   If new, provide dimensioned section details through sill, head, meeting rail, muntins, mullions, and brick molds for each type.  

3.  Existing brick molds should be repaired and retained. Note this on drawings.

4.  Provide photos of existing windows including close-ups.

5.  Provide photos of existing exterior doors.
